## Sheet1
| category | subcategory | important | assessed | topic | done | todo | comments | done_score | todo_score | evolution
4 | Technology centered disease control | Air quality | Yes | High | Are there any measures to increse use of natural ventilation? i.e. automatically openable windows, outside air intakes in windows or facade, natural ventilated double skin facade etc. | No relevant measures in place | In some parts of the evaluated GBN | Planned in all new buildings | 0 | 2 | 2
5 | Technology centered disease control | Air quality | Yes | High | Is mechanical ventilation ensuring supply of fresh air? | In large parts of the evaluated GBN | In some parts of the evaluated GBN | Planned in all new buildings | 3 | 2 | -1
6 | Technology centered disease control | Air quality | Yes | High | Are there any specific technologies for monitoring and controlling of indoor air quality? i.e. Automatix airflow regulation or window opening according to roomtemperatur or CO₂ concentration | In large parts of the evaluated GBN | In large parts of the evaluated GBN | there is a BMS standard for alle new initatives ensuring this. | 3 | 3 | 0
7 | Technology centered disease control | Air quality | Yes | High | Are there any air cleaning measures? i.e. (HEPA) airfilters, UV-light in ventialtion ducts for purifying of airstream, Air ionizers, Ozone generators etc. | In minor parts of the evaluated GBN | In minor parts of the evaluated GBN | - UV lights in BSS cantine. - People with special multi-allergies has special air cleaning measures in their offices. It is part of AUs inclusion strategy, that people with speicial needs can get the needed airquality. - Tests on CO2 filters (active carbon capture) in ventilation. | 1 | 1 | 0
8 | Technology centered disease control | Air quality | Yes | High | Are there technologies for avoiding recirculation and mixing of airqualities? I.e. Heat exchangers without or with low risk of croostermination (typically; Cross exchangers, fluid-coupled exchangers and counter current exchangers), Measures for creating positive or negative preasure in rooms when needed etc.) | In large parts of the evaluated GBN | In large parts of the evaluated GBN |  | 3 | 3 | 0
9 | Technology centered disease control | Air quality | Yes | High | Are there any technologies in risk of reducing air quality or driving crosstermination of air? Such as rotary heat exchangers etc. | Unknown | Unknown
12 | Technology centered disease control | Water quality | Yes | High | Are there any measures managing drinking water safety? | Thorughout the evaluated GBN | Thorughout the evaluated GBN | There is a high degree of control from the water supply (municipality). | 4 | 4 | 0
13 | Technology centered disease control | Water quality | Yes | High | Is maintenance and decontamination of building water systems secured? | Thorughout the evaluated GBN | Thorughout the evaluated GBN | High quality drinking water system in and outside the biulding. The supplyer (the municipality) assures the water purification and test. | 4 | 4 | 0
14 | Technology centered disease control | Water quality | Yes | High | Are there posibilities of separate water facilities? i.e. toilets/bathrooms for contaminated | No relevant measures in place | No relevant measures planned |  | 0 | 0 | 0
15 | Technology centered disease control | Water quality | Yes | High | Are there any measures for avoiding grey water contamination, and controlling grey water use? | - Choose from list - | - Choose from list - | Rephrase question.
18 | Technology centered disease control | Sanitizing | Yes | High | Are there any automatic cleaning technologies? i.e. ceaning robots etc. | In minor parts of the evaluated GBN | - Choose from list - | On an experimental basis, UV light has been used to disinfect table surfaces (BSS canteen). | 1
19 | Technology centered disease control | Sanitizing | Yes | High | Are there measures reducing touching of contact points? i.e. Touchless coffee machines, Touchless water taps, Touchless vending machines, Touchless door opening, Smart locker systems? | Thorughout the evaluated GBN | Thorughout the evaluated GBN | - Many sinks are with touchless taps - Some watertaps for drinking is also with touchless - Some automatic doors - Lighting is always touchless | 4 | 4 | 0
20 | Technology centered disease control | Sanitizing | Yes | High | Does surfacematerials have properties reducing virusa transmissions? i.e.such as antimicrobial surfaces, surface treatments or high clanability etc. | Thorughout the evaluated GBN | Thorughout the evaluated GBN | -High cleanability in all surfaces (this is a high priority due to cleaning costs) | 4 | 4 | 0
21 | Technology centered disease control | Sanitizing | Yes | High | Are there any measures for continuous animal vector control, for example against rats, mosquitoes, or others? | Thorughout the evaluated GBN | Thorughout the evaluated GBN | Automatic rat elminiation in sewer system (out side the building - and controled by the municipality) | 4 | 4 | 0
24 | Human centred disease control | User journey | Yes | High | Rephrase questions: Is measures implemented or eaily implmented if a Pandemic should occure again. | Measures in place | Measures planned |  | 4 | 4 | 0
25 | Human centred disease control | User journey | Yes | High | Has the users flow been optimized to prevent contamination, such as: One-way pedestrian regulation, Fixed entry nodes, entry to all rooms from outside, or Predefined routes? | No relevant measures in place | No relevant measures planned | Under the pandemic different measures were implemented, but all is back to normal afterwards. | 0 | 0 | 0
26 | Human centred disease control | User journey | Yes | High | Are there any occupancy control (eg separating at risk/ contaminated population)? | No relevant measures in place | No relevant measures planned |  | 0 | 0 | 0
27 | Human centred disease control | User journey | Yes | High | Are there any user shift control (occupancy control of total amount) | No relevant measures in place | No relevant measures planned |  | 0 | 0 | 0
30 | Human centred disease control | User behavior | Yes | Low | Rephrase questions: Is measures implemented or eaily implmented if a Pandemic should occure again. | Measures in place | Measures planned |  | 4 | 4 | 0
31 | Human centred disease control | User behavior | Yes | Low | Are there any measures regarding social distancing? | No relevant measures in place | No relevant measures planned |  | 0 | 0 | 0
32 | Human centred disease control | User behavior | Yes | Low | Are there any measures promoting good hand hygiene such as easy accessible sinks for hand washing, Visual guides or instruction in good hand hygiene or Hand sanitizer available and visible present? | In some parts of the evaluated GBN | No relevant measures planned |  | 2 | 0 | -2
33 | Human centred disease control | User behavior | Yes | Low | Has staff recieved health-related training to raise awareness and capabilities in terms of contagious diseases? | In minor parts of the evaluated GBN | No relevant measures planned |  | 1 | 0 | -1
34 | Human centred disease control | User behavior | Yes | Low | Are there any measures to ensure the use of adequate personal protection equipment (such as facemask during COVID 19), for example through Checkpoint entrance control of protection equipment or Camera monitoring of personal protection equipment? | No relevant measures in place | No relevant measures planned |  | 0 | 0 | 0
37 | Human centred disease control | Mental health | Yes | High | Is physical acitiviy being promoted? i.e thorugh routine work-out videos, acces to sportfacilities etc. | In large parts of the evaluated GBN | In large parts of the evaluated GBN |  | 3 | 3 | 0
38 | Human centred disease control | Mental health | Yes | High | Is there access to recreational areas, such as parks, greenerys, relaxation or meditation spaces? | Thorughout the evaluated GBN | Thorughout the evaluated GBN |  | 4 | 4 | 0
39 | Human centred disease control | Mental health | Yes | High | Is there a good indoor environment? i.e. daylight, good airquality etc | Thorughout the evaluated GBN | Thorughout the evaluated GBN |  | 4 | 4 | 0
40 | Human centred disease control | Mental health | Yes | High | Has good communication and information sharing been insured to keep users informed and alleviating anexity amongs users? | Thorughout the evaluated GBN | Thorughout the evaluated GBN | Rehrase the question, so it is aimed at present and future. | 4 | 4 | 0
41 | Human centred disease control | Mental health | Yes | High | Is there acces to mental health ressources? Such as collaboration with mental health professions etc. | Thorughout the evaluated GBN | Thorughout the evaluated GBN |  | 4 | 4 | 0
42 | Human centred disease control | Mental health | Yes | High | Is there a supportive environment amongst users with a senes of community feeling? This could be spawned by virtual or physical social events or buddy systems | In large parts of the evaluated GBN | In large parts of the evaluated GBN |  | 3 | 3 | 0
44 | Continuity | Propagation monitoring |  |  | Are there any measures for Infection tracking and monitoring, such as Monitoring of wastewater, Accessible testing or Tracking of user’s infection status? | - Choose from list - | - Choose from list -
45 | Continuity | Propagation monitoring |  |  | Are there any measures to support quarantine, for example using parts of the asset to manage a quarantine area? | - Choose from list - | - Choose from list -
46 | Continuity | Propagation monitoring |  |  | Are there any specific measures for an early detection of sick staff/users? | - Choose from list - | - Choose from list -
48 | Continuity | Continuity |  |  | Have any measures been taken to minimize risk of supply chain disruptions? | - Choose from list - | - Choose from list -
49 | Continuity | Continuity |  |  | Have any measures been taken to support recovery of sectors via remote work | - Choose from list - | - Choose from list -
50 | Continuity | Continuity |  |  | Have any measures been taken to absorb resource shortages? | - Choose from list - | - Choose from list -
51 | Continuity | Continuity |  |  | Have any measures been taken to absorb surge in service demand | - Choose from list - | - Choose from list -
53 | Continuity | Information management |  |  | Are there information technologies, which could be used to spread relevant and trustable information? i.e. Information screens (policies, regulations etc.), Mobile app for users etc. | - Choose from list - | - Choose from list -